## Sheet1
SALES QUOTATION
CUSTOMER: |  |  | DATE:
ADDRESS:
1.5HP AC/DC SUBMERSIBLE WATER PUMP PACKAGE
ITEM | PHOTO | QTY | U/M | UNIT PRICE | AMOUNT
1.5HP HYBRID AC/DC SUBMERSIBLE WATER PUMP MODEL:3DPC7.5-62-150-1100-A/D Power: 1.5HP/1100W Voltage(AC): 85V-280V Voltage(DC): 80V-420V Max. Flow: 7.5m³/h Max. Head: 62m Outlet: 1 1/2" Body Diameter: 2 3/4" RPM : 3450 |  | 1 | set | 40000 | 40000
460w Solar Panel Peak Power(Pmax): 460w Open Circuit Voltage(Voc):50v Max Power Voltage(Vmp): 41.3v Short Circuit Current(Isc): 11.68A Max. Power Current(Imp): 11.13A Power Tolerance: 0~+5% Maximum Series Fuse Rating:20A Weight:24.5KG Size:2102*1040*35mm |  | 4 | pc/s | 10600 | 42400
PACKAGE ACCESSORIES |  | 5 | set | 2500 | 12500
|  | 1 | set
Royal Cable |  | 0 | m/s | 180 | 0
PV Cable |  | 0 | m/s | 180 | 0
Enclosure Box |  | 1 | unit | 4950 | 4950
Flood Lights |  | 0 | unit | 2500 | 0
MC4 Connector |  | 2 | set | 100 | 200
Grounding Rod |  | 1 | set | 2500 | 2500
#12 THHN Copper Wire |  | 0 | m/s | 30 | 0
Intallation & Transpo. |  | 0 | unit | 0 | 0
Sales Executive |  | SUB TOTAL |  |  | 102550
DOWN PAYMENT |  | 0 |  | 0 | 0
NON - VAT |  |  |  |  | 102550
TERMS AND CONDITIONS
1. Grand total will be computed together with the required materials (ie. wires, pipe, etc.) as per measurement and choice of the buyer as well as the labor/installation and delivery/transportation.
2. Photos may slightly vary from the actual item.
3. Price Validity Quotation valid for 30 days.
WARRANTY
Please keep your purchase receipt to validate your product’s warranty. Your Marasigan Solar product/s has the following warranty:
Submersible Pump - 2 Years
Auto Switching Controller - 1 Year
Solar Panels - 5 Years
After Sale (Free Labor Only) - 1 Year
COVERAGE
Product mechanical and electrical failure.
Mechanical/electrical failure and defects on original parts and accessories that came from our product.
________________________________ ____________________________________________
Checked & certified by: Received the above in good order and condition by: